## Necleus Spectra
| Emission Spectrum |  |  |  |  | Missing: | 7.71 | 12.39
Chanel | Wave length |  | Configuration | Flux | Ratio to H2 | Characteristic | Fitted function |  |  |  |  | Deviation
subBack_Level3_ch1-short_s3d.fits | 5.1768 |  | (17, 19) | 11.2295 | 0.083558 |  | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -110118 | 23871.1 | 18106.3 | 3495.97
[7 empty] | Gauss | 11.2295 | 2700.74 | 5.1768 | 0.0039061 | 0.67359 | 102.932 | 7.1717e-05 | 0.00018093
subBack_Level3_ch1-short_s3d.fits | 5.2844 |  | (17, 19) | 780.006 | 5.804 | PAH | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -199429 | 40427.3 | 12800.7 | 2378.71
[7 empty] | Lorentz | 780.006 | 9377.65 | 5.2844 | 0.052952 | 40.2619 | 251.008 | 0.00042792 | 0.002337
subBack_Level3_ch1-short_s3d.fits | 5.3908 | Fe II | (17, 19) | 89.0308 | 0.66248 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 230317 | -39561.4 | 30495.6 | 5652.62
[7 empty] | Gauss | 89.0308 | 18567 | 5.3908 | 0.0045047 | 2.5062 | 335.828 | 3.9409e-05 | 9.7164e-05
subBack_Level3_ch1-short_s3d.fits | 5.5636 | Mg V | (17, 19) | 39.8712 | 0.29668 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -188028 | 37007.7 | 24452.2 | 4393.37
[7 empty] | Gauss | 39.8712 | 10977.9 | 5.5636 | 0.003412 | 1.039 | 183.712 | 2.7618e-05 | 6.815e-05
subBack_Level3_ch1-medium_s3d.fits | 6.2756 |  | (16,18) | 9248.71 |  | PAH | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -340758 | 60174.8 | 13249.2 | 2077.74
[7 empty] | Gauss | 9248.71 | 65977.6 | 6.2756 | 0.13169 | 138.346 | 571.346 | 0.00054536 | 0.0016062
subBack_Level3_ch1-long_s3d | 6.6987 |  | (17, 20) | 89.9293 |  | PAH | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
ArgonII | [6 empty] | a+bx | 3609.12 | 5308 | 7147.56 | 1065.87
[7 empty] | Lorentz | 82.5017 | 8609.73 | 6.6987 | 0.0061003 | 1.822 | 84.2166 | 3.3e-05 | 0.00012079
[7 empty] | Gauss | 7.4276 | 2210.16 | 6.705 | 0.0031571 | 0.57612 | 104.735 | 7.4916e-05 | 0.00019387
subBack_Level3_ch1-long_s3d | 6.9745 | H2 S(5) | (17, 20) | 76.558 | 0.56967 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -285810 | 46949.9 | 63090.8 | 9044.45
[7 empty] | Gauss | 76.558 | 16717.8 | 6.9745 | 0.0043021 | 1.7695 | 244.491 | 3.0319e-05 | 7.6998e-05
subBack_Level3_ch1-long_s3d | 7.0509 | Ar II | (17, 20) | 2479.04 | 18.4465 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM:
[7 empty] | a+bx | 532637 | -68487.4 | 498278 | 70648.9
[7 empty] | Gauss | 2479.04 | 423798 | 7.0509 | 0.0054953 | 45.3505 | 4984.56 | 3.1285e-05 | 7.6997e-05
subBack_Level3_ch1-long_s3d | 7.4213 |  | (17, 20) | 69.3992 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -1546870 | 217574 | 69481 | 9359.55
[7 empty] | Gauss | 69.3992 | 9908.66 | 7.4213 | 0.0065797 | 2.732 | 241.403 | 7.7269e-05 | 0.00020346
subBack_Level3_ch1-long_s3d | 7.5299 | HI (Pfa) | (17, 20) | 134.391 | 1 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
| 7.4628 | [5 empty] | a+bx | -951844 | 139035 | 168288 | 22341.5
[7 empty] | Gauss | 134.391 | 22382.9 | 7.5299 | 0.0056406 | 4.6149 | 473.881 | 5.7522e-05 | 0.0001525
subBack_Level3_ch1-long_s3d | 7.5733 |  | (17, 20) | 50.5904 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -3395690 | 462506 | 104487 | 13782.6
[7 empty] | Gauss | 50.5904 | 6581.26 | 7.5733 | 0.0072215 | 3.976 | 310.08 | 0.00016153 | 0.00045426
subBack_Level3_ch2-short_s3d | 7.5301 |  | (17,17) | 112.275 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -1314560 | 184873 | 153227 | 20345.7
[7 empty] | Gauss | 112.275 | 16520.1 | 7.5301 | 0.0063847 | 9.5743 | 894.118 | 0.00016662 | 0.00042074
subBack_Level3_ch2-short_s3d | 8.1008 |  | (17,17) | 39.63 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 1083430 | -124120 | 63370.7 | 7819.63
[7 empty] | Gauss | 39.63 | 8315.29 | 8.1008 | 0.0044773 | 1.5085 | 199.029 | 5.1488e-05 | 0.00013252
subBack_Level3_ch2-medium_s3d | 9.0749 | Ar III | (17,15) | 222.156 | 1.6531 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 339623 | -29475.9 | 74896.3 | 8252.22
[7 empty] | Gauss | 222.156 | 27936.1 | 9.0749 | 0.0074707 | 7.1782 | 577.263 | 7.4569e-05 | 0.00018557
subBack_Level3_ch2-medium_s3d | 9.7576 |  | (17,15) | 39.5006 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -194312 | 26966.3 | 220710 | 22616.8
[7 empty] | Gauss | 39.5006 | 7080.79 | 9.7576 | 0.0052407 | 3.5146 | 384.94 | 0.0001378 | 0.00036913
subBack_Level3_ch2-long_s3d | 10.6081 | SIV | (16,15) | 54.1282 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -364598 | 42752.5 | 83162.6 | 7838.35
[7 empty] | Gauss | 54.1282 | 6212.98 | 10.6081 | 0.0081845 | 3.4957 | 248.346 | 0.00015786 | 0.00041515
subBack_Level3_ch2-long_s3d | 11.3497 |  | (16,15) | 44172.6 |  | PAH | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -806905 | 78616.7 | 189637 | 17588.4
[7 empty] | Lorentz | 2524.7 | 42162.1 | 11.3008 | 0.038121 | 255.789 | 2827.15 | 0.00035715 | 0.0028953
[7 empty] | Lorentz | 20399.8 | 83655.4 | 11.3497 | 0.15524 | 3738.31 | 13033.6 | 0.0019114 | 0.014977
[7 empty] | Lorentz | 21248.1 | 39454.6 | 11.4716 | 0.34285 | 13384.4 | 19025.9 | 0.022896 | 0.13895
subBack_Level3_ch3-short_s3d | 12.3936 | H2 S(2) | (22,19) | 142.929 | 1.0635 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -4048770 | 348184 | 602024 | 48528.3
[7 empty] | Gauss | 142.929 | 18457.6 | 12.3936 | 0.0072747 | 10.7435 | 792.726 | 0.00013566 | 0.00044876
| 12.9356 | Ne II | (22,19) | 17515.2 | 130.3302 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 3648840 | -268982 | 1478670 | 114289
[7 empty] | Gauss | 17515.2 | 1569380 | 12.9356 | 0.010485 | 372.192 | 21536 | 6.9811e-05 | 0.00017011
subBack_Level3_ch3-medium_s3d | 14.5019 | NeV/ clorine | (22,19) | 168.57 | 1.2543 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
Neon 5 | [6 empty] | a+bx | 199432 | -2344.87 | 66756.6 | 4601.88
[8 empty] | 168.57 | 14795.4 | 14.5019 | 0.010703 | 7.4139 | 414.981 | 0.00014485 | 0.0003626
subBack_Level3_ch3-long_s3d | 15.7003 | Ne III | (21, 18) | 1696.12 | 12.6208 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -1150020 | 86371.2 | 150141 | 9558.22
[7 empty] | Gauss | 1696.12 | 108910 | 15.7003 | 0.01463 | 44.624 | 1842.59 | 0.00011981 | 0.00029478
subBack_Level3_ch3-long_s3d | 16.5711 |  | (21, 18) | 8792.2 |  | PAH | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -811578 | 63292.4 | 81696.8 | 4846.96
[7 empty] | Lorentz | 8792.2 | 30049.4 | 16.5711 | 0.18627 | 840.59 | 1799.83 | 0.0021674 | 0.013881
| 17.1961 | H2 S(1) | (21, 18) | 228.802 | 1.7025 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -1622590 | 129225 | 2529080 | 147039
[7 empty] | Gauss | 228.802 | 33461.5 | 17.1961 | 0.0064237 | 70.8815 | 6577.32 | 0.00060833 | 0.0015381
subBack_Level3_ch4-short_s3d | 18.0517 | Fe II | (12, 12) | 420.064 | 3.1257 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -1448520 | 101564 | 741904 | 41080.4
[7 empty] | Gauss | 420.064 | 28810.6 | 18.0517 | 0.013697 | 88.6102 | 3869.95 | 0.00088964 | 0.0022278
| 18.8881 | S III | (12, 12) | 6597.17 | 49.0894 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 341321 | -5847.55 | 217077 | 11482.2
[7 empty] | Gauss | 6597.17 | 384364 | 18.8881 | 0.016124 | 137.691 | 5197.77 | 0.00010601 | 0.00025634
subBack_Level3_ch4-medium_s3d | 23.1444 | Fe III | (12, 12) | 657.46 | 4.8921 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 580885 | -11556.9 | 1035150 | 44703.6
[7 empty] | Gauss | 657.46 | 44011.7 | 23.1444 | 0.014034 | 162.137 | 6927.56 | 0.0010628 | 0.0026642
subBack_Level3_ch4-long_s3d |  | Fe II | (12, 13) |  | PyNeb
plot histogram
abandance of Ne and Ar

## Arm Spectra
Emission Spectrum
| Determining the location of the star-forming region | [5 empty] | ch3_short | 10:27:51.175 | - 43:54:12.02
[7 empty] | ch2_short | 10:27:51:168 | - 43:54:12.10
[7 empty] | ch3_long | 10:27:51.176 | - 43:54:12.28
Chanel | Wave length |  | Configuration | Flux |  | Characteristic | Fitted function |  |  |  |  | Deviation
ch1_short | 5.3904 | Fe II | 10:27:51.174 -43:54:12.28 | 41.7843 | 1.174 | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -134459 | 25185.5 | 52618.3 | 9753.46
[7 empty] | Gauss | 41.7843 | 11738.5 | 5.3904 | 0.003344 | 1.7006 | 304.09 | 4.166e-05 | 0.00010497
ch1_short | 5.5637 | Mg V | 10:27:51.172 -43:54:12.17 | 6.9358 | 0.19488 | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -46868.8 | 8723.49 | 41017.7 | 7366.72
[7 empty] | Gauss | 6.9358 | 2305.57 | 5.5637 | 0.0028261 | 0.9239 | 195.253 | 0.00011496 | 0.00029058
ch1_medium | 5.9638 |  |  | 4.4099 |  | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 27655.5 | -4186.39 | 38345.2 | 6428.48
[7 empty] | Gauss | 4.4099 | 1270.75 | 5.9638 | 0.0032601 | 0.55964 | 100.945 | 0.00012472 | 0.00032265
ch1_medium | 6.1664 |  |  | 5.9471 |  | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -319349 | 52603.1 | 85046.6 | 13782.5
[7 empty] | Gauss | 5.9471 | 1997.13 | 6.1664 | 0.0027975 | 0.58994 | 116.483 | 7.5389e-05 | 0.00022447
ch1_medium | 6.28 |  |  | 4250.73 |  | PAH | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -81245.2 | 13091.1 | 3642.3 | 549.876
[7 empty] | Lorentz | 4250.73 | 15359.1 | 6.28 | 0.17619 | 94.7521 | 189.872 | 0.0005816 | 0.0032681
ch1_long | 6.6982 |  | 10:27:51.168 -43:54:12.22 | 3.5361 |  | PAH | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -142688 | 22072.1 | 23450.8 | 3500.02
[7 empty] | Gauss | 3.5361 | 745.992 | 6.6982 | 0.0044531 | 0.46478 | 60.5982 | 0.00017422 | 0.00046014
| 6.7845 |  |  | 3.4369 |  | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 120784 | -17016.2 | 96790.7 | 14264.5
[7 empty] | Gauss | 3.4369 | 1004.89 | 6.7845 | 0.003213 | 0.62845 | 108.332 | 0.00016835 | 0.00047454
| 6.9747 | H2 S(5) |  | 23.7155 | 0.66635 | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -287.578 | 962.811 | 125527 | 17983.2
[7 empty] | Gauss | 23.7155 | 6616.35 | 6.9747 | 0.0033673 | 2.4196 | 423.688 | 0.00010279 | 0.00026746
| 7.0507 | Ar II |  | 218.424 | 6.1372 | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 408074 | -56701.8 | 435096 | 61677.2
[7 empty] | Gauss | 218.424 | 58026.1 | 7.0507 | 0.0035363 | 6.1718 | 1016 | 2.9565e-05 | 7.8425e-05
| 7.5298 | HI (Pfa) |  | 16.2739 |  | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
|  | should be |  |  |  |  | a+bx | -198731 | 28558.4 | 111965 | 14861.1
|  | the same line |  |  |  |  | Gauss | 16.2739 | 4082.7 | 7.5298 | 0.0037447 | 1.0262 | 151.828 | 6.5607e-05 | 0.0001907
ch2_short | 7.5303 | HI (Pfa) | 10:27:51.168 -43:54:12.27 | 35.5927 | 1.0001 | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -280528 | 39326.8 | 31731.6 | 4211.85
[7 empty] | Gauss | 35.5927 | 8033.48 | 7.5303 | 0.0041622 | 0.95809 | 137.375 | 3.4257e-05 | 8.6527e-05
| 7.5732 |  |  | 6.363 |  | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -449814 | 61829 | 118046 | 15573
[7 empty] | Gauss | 6.363 | 1708.66 | 7.5732 | 0.0034984 | 1.1517 | 180.081 | 0.00016471 | 0.00051479
| 8.1012 |  |  | 60.9299 |  | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 37078.9 | -2896.09 | 68157 | 8408.66
[7 empty] | Gauss | 60.9299 | 12169.4 | 8.1012 | 0.0047036 | 1.2855 | 157.772 | 2.914e-05 | 7.8292e-05
ch2_medium | 8.8434 |  | 10:27:51.186 -43:54:12.31 | 3.8977 |  | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 131345 | -13750 | 37870.6 | 4279.88
[7 empty] | Gauss | 3.8977 | 660.276 | 8.8434 | 0.0055457 | 0.48364 | 47.1059 | 0.00018695 | 0.000563
| 9.0766 | Ar III |  | 101.336 | 2.8473 | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 70108.1 | -7005.74 | 176971 | 19486.3
[7 empty] | Gauss | 101.336 | 18615.9 | 9.0766 | 0.0051139 | 3.9413 | 447.794 | 5.8735e-05 | 0.00015629
| 9.7596 |  |  | 117.507 |  | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -2503.55 | 862.175 | 55570.3 | 5690.97
[7 empty] | Gauss | 117.507 | 20898 | 9.7596 | 0.0052824 | 1.4539 | 161.757 | 1.9585e-05 | 5.0987e-05
ch2_long | 10.6107 |  | 10:27:51.175 -43:54:12.15 | 47.1771 |  | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -120583 | 12109.4 | 47928.8 | 4514.67
[7 empty] | Gauss | 47.1771 | 6660.06 | 10.6107 | 0.0066546 | 1.3053 | 112.962 | 5.404e-05 | 0.00014546
| 11.3455 |  |  | 12520.6 |  | PAH | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -444410 | 39322.7 | 24008.5 | 2037.96
[7 empty] | Lorentz | 12520.6 | 31976 | 11.3455 | 0.24928 | 545.74 | 908.26 | 0.0014329 | 0.0082414
Ch3_short | 12.3949 | H2 S(2) | 10:27:51.175 -43:54:12.02 | 154.99 | 4.3549 | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -398214 | 33458.8 | 49141.1 | 3962.57
[7 empty] | Gauss | 154.99 | 22051.7 | 12.3949 | 0.0066028 | 1.586 | 141.048 | 2.0218e-05 | 5.2739e-05
| 12.4896 |  |  | 25.9141 |  | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -300781 | 25497.7 | 86547.7 | 6926.41
[7 empty] | Gauss | 25.9141 | 3693.9 | 12.4896 | 0.0065905 | 1.9927 | 174.156 | 0.00014869 | 0.00040036
| 12.9375 | Ne II |  | 3398.57 | 95.4923 | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 1156350 | -87437 | 614557 | 47465.8
[7 empty] | Gauss | 3398.57 | 432358 | 12.9375 | 0.0073845 | 50.8623 | 4142.98 | 3.4138e-05 | 8.4891e-05
Ch3_medium | 14.505 | NeV | 10:27:51.188 -43:54:12.38 | 36.8762 | 1.0361 | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 134852 | -8003.02 | 61667.8 | 4248.74
[7 empty] | Gauss | 36.8762 | 3972.43 | 14.505 | 0.0087208 | 1.5406 | 97.8097 | 0.00010171 | 0.00029434
| 15.7033 | Ne III | 10:27:51.176 -43:54:12.26 | 562.203 | 15.7967 | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 328806 | -19348.7 | 391061 | 24893.2
[7 empty] | Gauss | 562.203 | 53561.1 | 15.7033 | 0.0098608 | 15.0884 | 881.272 | 7.7991e-05 | 0.00020908
| 16.5828 |  |  | 1652.94 |  | PAH | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -96870.9 | 7582.32 | 11966.1 | 712.814
[7 empty] | Lorentz | 1652.94 | 6251.74 | 16.5828 | 0.16832 | 118.528 | 247.89 | 0.0016371 | 0.010057
| 17.197 | H2 S(1) |  | 433.611 | 12.1835 | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -522120 | 32438.2 | 450762 | 26202.7
[7 empty] | Gauss | 433.611 | 46843 | 17.197 | 0.0086961 | 13.5454 | 903.011 | 8.0503e-05 | 0.00021376
Ch4_short | 18.0541 | Fe II | 10:27:51.178 -43:54:12.02 | 76.7906 | 2.1576 | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 131898 | -5579.01 | 113499 | 6284.4
[7 empty] | Gauss | 76.7906 | 5717.96 | 18.0541 | 0.012616 | 6.4017 | 285.553 | 0.00029942 | 0.00084217
| 18.1051 |  |  | 58.7756 |  | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 26868.4 | -11.3971 | 70132.8 | 3870.08
[7 empty] | Gauss | 58.7756 | 3499.58 | 18.1051 | 0.015778 | 4.0362 | 139.663 | 0.00029775 | 0.00088175
| 18.1051 |  |  | 58.7756 |  | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 26868.4 | -11.3971 | 70132.8 | 3870.08
[7 empty] | Gauss | 58.7756 | 3499.58 | 18.1051 | 0.015778 | 4.0362 | 139.663 | 0.00029775 | 0.00088175
| 18.8902 | S III |  | 2228.35 | 62.6117 | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 138975 | -5673.84 | 355802 | 18820
[7 empty] | Gauss | 2228.35 | 155612 | 18.8902 | 0.013453 | 35.414 | 1563.43 | 6.4964e-05 | 0.00016565
Ch4_medium | 23.145 | Fe III | 10:27:51.165 -43:54:12.36 | 245.491 | 6.8978 | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -81587.8 | 5671.91 | 353620 | 15269.9
[7 empty] | Gauss | 245.491 | 15056.8 | 23.145 | 0.015317 | 34.8671 | 1342.86 | 0.00065533 | 0.0016931
Ch4_Long | 26.232 | Fe II | 10:27:51.194 -43:54:12.34 | 280.718 | 7.8876 | Excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 201983 | -5262.62 | 260946 | 9942.23
[7 empty] | Gauss | 280.718 | 16741.8 | 26.232 | 0.015752 | 35.2828 | 1340.24 | 0.0006075 | 0.0015263

## Sheet3
Emission Spectrum
| Determining the location of the star-forming region | [5 empty] | ch3_short | 10:27:51.156 | - 43:54:14.62
[7 empty] | ch2_medium | 10:27:51:186 | - 43:54:14.86
[7 empty] | ch3_medium | 10:27:51.169 | - 43:54:14.78
Chanel | Wave length |  | Configuration | Flux |  | Characteristic | Fitted function
ch1_short | 5.0998 |  | 10:27:51.174 -43:54:13.84 | 3.8569 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 82701.1 | -14941.7 | 41652.9 | 8164.12
[7 empty] | Gauss | 3.8569 | 1702.57 | 5.0998 | 0.0021282 | 0.40532 | 112.8 | 6.765e-05 | 0.0001736
| 5.1761 |  |  | 7.1886 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 78470.2 | -13807.7 | 46464.6 | 8973.46
[7 empty] | Gauss | 7.1886 | 3059.63 | 5.1761 | 0.0022072 | 0.37798 | 100.422 | 3.4713e-05 | 9.0669e-05
| 5.2827 |  |  | 407.336 |  | PAH | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -156673 | 31107.8 | 9893.88 | 1844.08
[7 empty] | Lorentz | 407.336 | 5238.61 | 5.2827 | 0.049501 | 24.6248 | 175.617 | 0.00043592 | 0.0024902
| 5.3899 | Fe II |  | 74.6012 | 0.67705 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 238595 | -42383.2 | 211206 | 39167.1
[7 empty] | Gauss | 74.6012 | 26320.4 | 5.3899 | 0.0026627 | 3.4278 | 766.111 | 3.7248e-05 | 9.4666e-05
| 5.5625 | Mg V |  | 26.8752 | 0.24391 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -204593 | 38558.2 | 157971 | 28387.4
[7 empty] | Gauss | 26.8752 | 10752.5 | 5.5625 | 0.0023481 | 1.613 | 405.875 | 4.2498e-05 | 0.00010956
ch1_medium | 5.9624 |  | 10:27:51.172 -43:54:13.99 | 11.3376 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 271467 | -43518.4 | 90182 | 15121.3
[7 empty] | Gauss | 11.3376 | 3704.66 | 5.9624 | 0.002875 | 0.97563 | 198.756 | 7.4185e-05 | 0.00019343
| 6.1074 |  |  | 8.7917 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -315838 | 54557.5 | 108532 | 17750
[7 empty] | Gauss | 8.7917 | 1855.74 | 6.1074 | 0.0044506 | 1.0198 | 130.855 | 0.00011436 | 0.00040993
| 6.1647 |  |  | 10.7385 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -750681 | 125166 | 49838.8 | 8080.78
[7 empty] | Gauss | 10.7385 | 3871.91 | 6.1647 | 0.0026055 | 0.47887 | 107.47 | 3.4538e-05 | 9.0937e-05
| 6.2685 |  |  | 24813.7 |  | PAH | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -663405 | 104125 | 37338.4 | 5635.09
[7 empty] | Lorentz | 24813.7 | 75840.9 | 6.2685 | 0.20829 | 870.868 | 1986.82 | 0.000864 | 0.0048646
ch1_long | 6.6975 |  | 10:27:51.168 -43:54:13.52 | 20.5027 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
| 6.7034 |  |  | 8.9234 |  |  | a+bx | 108762 | -12341.3 | 43123.3 | 6438.99
[7 empty] | Gauss | 20.5027 | 4476.93 | 6.6975 | 0.0043023 | 1.2157 | 141.182 | 8.6199e-05 | 0.00021603
[7 empty] | Gauss | 8.9234 | 1913.82 | 6.7034 | 0.0043802 | 1.2802 | 142.899 | 0.00020286 | 0.00053658
| 6.9732 | H2 S(5) |  | 79.2856 | 0.71956 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -508702 | 77118.4 | 108886 | 15611.1
[7 empty] | Gauss | 79.2856 | 22764.5 | 6.9732 | 0.0032719 | 2.3952 | 438.629 | 3.0413e-05 | 7.6128e-05
| 7.0497 | Ar II |  | 1901.21 | 17.2546 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 370505 | -47368.7 | 623140 | 88276.5
[7 empty] | Gauss | 1901.21 | 475109 | 7.0497 | 0.0037593 | 50.8757 | 8214.26 | 3.1525e-05 | 7.6782e-05
| 7.4204 |  |  | 31.3823 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -1339910 | 187607 | 113742 | 15317.6
[7 empty] | Gauss | 31.3823 | 7129.11 | 7.4204 | 0.0041354 | 1.4932 | 202.712 | 5.5408e-05 | 0.00015777
| 7.5286 | HI (Pfa) |  | 110.186 | 1 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -1200020 | 169468 | 734894 | 97573.3
[7 empty] | Gauss | 110.186 | 29162.4 | 7.5286 | 0.0035495 | 6.8646 | 1096.81 | 6.3858e-05 | 0.00017629
| 7.5715 |  |  | 25.8086 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -2426150 | 331861 | 281402 | 37146.5
[7 empty] | Gauss | 25.8086 | 7543.33 | 7.5715 | 0.0032142 | 1.9701 | 340.253 | 6.8124e-05 | 0.00019794
ch2_short | 7.5282 |  | 10:27:51.184 -43:54:14.48 | 89.246 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
51.263, 14.31 | [6 empty] | a+bx | -487398 | 72171.1 | 188297 | 24997.6
[7 empty] | Gauss | 89.246 | 21906 | 7.5282 | 0.0038273 | 3.1013 | 472.468 | 3.9369e-05 | 0.00010428
| 7.5713 |  |  | 15.6404 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -1528110 | 210433 | 610047 | 80502.6
[7 empty] | Gauss | 15.6404 | 4672.57 | 7.5713 | 0.0031446 | 4.9317 | 853.381 | 0.00025415 | 0.00080828
| 8.0988 |  |  | 51.0051 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 809587 | -93687.8 | 133357 | 16460
[7 empty] | Gauss | 51.0051 | 14797.4 | 8.0988 | 0.0032381 | 2.0957 | 384.417 | 4.0386e-05 | 0.00010308
ch2_medium | 9.0732 | Ar III | 51.201, 14.86 | 168.056 | 1.5252 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
51.280 14.86 | [6 empty] | a+bx | 422288 | -43773.9 | 204657 | 22548
[7 empty] | Gauss | 168.056 | 35715.5 | 9.0732 | 0.0044204 | 7.1059 | 965.129 | 5.7642e-05 | 0.00014376
ch2_long | 10.6071 |  | 51.190, 14.53 | 33.0809 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -337337 | 34125.2 | 49573 | 4672.36
[7 empty] | Gauss | 33.0809 | 6039.45 | 10.6071 | 0.0051457 | 1.437 | 166.344 | 6.8267e-05 | 0.00017284
| 11.3512 |  |  | 44338.7 |  | PAH | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -1031980 | 91272.7 | 146693 | 12324.8
[7 empty] | Lorentz | 44338.7 | 87703.9 | 11.3512 | 0.32184 | 5011.23 | 6886.99 | 0.0045795 | 0.026162
ch3_short | 12.3914 | H2 S(2) | 51.193, 14.42 | 133.311 | 1.2099 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -1621210 | 138546 | 545259 | 43971.3
[7 empty] | Gauss | 133.311 | 22291.3 | 12.3914 | 0.0056182 | 9.2504 | 939.325 | 0.0001109 | 0.00030973
| 12.4858 |  |  | 76.9949 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -1197860 | 103898 | 484185 | 38759.7
[7 empty] | Gauss | 76.9949 | 11399.1 | 12.4858 | 0.0063454 | 9.4673 | 851.386 | 0.00022608 | 0.0006198
| 12.9335 | Ne II |  | 17217.2 | 156.2558 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 4348930 | -323253 | 12570300 | 971480
[7 empty] | Gauss | 17217.2 | 2119070 | 12.9335 | 0.0076328 | 748.464 | 58566.6 | 0.00010159 | 0.00025612
ch3_medium | 14.5001 | NeV/ clorine | 51.206, 14.76 | 180.694 | 1.6399 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 307643 | -12811 | 245968 | 16953.3
[7 empty] | Gauss | 180.694 | 20364.5 | 14.5001 | 0.0083356 | 9.9937 | 701.021 | 0.00013721 | 0.00036083
ch3_long | 15.6987 | Ne III | 51.194, 14.66 | 1432.25 | 12.9985 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 532777 | -25206.3 | 624824 | 39785.4
[7 empty] | Gauss | 1432.25 | 122604 | 15.6987 | 0.010974 | 47.779 | 2578.84 | 0.00011106 | 0.00028416
| 16.5751 |  |  | 6377.28 |  | PAH | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -636529 | 47475.8 | 26004.2 | 1552.34
[7 empty] | Lorentz | 6377.28 | 23117 | 16.5751 | 0.17562 | 317.196 | 570.276 | 0.0013237 | 0.0075851
| 17.1931 | H2 S(1) |  | 343.487 | 3.1173 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -1568800 | 101619 | 1298300 | 75488
[7 empty] | Gauss | 343.487 | 38565.3 | 17.1931 | 0.0083672 | 41.7965 | 2923.05 | 0.00030454 | 0.00079651
ch4_short | 18.0507 | Fe II | 51.211, 14.47 | 352.889 | 3.2027 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 908729 | -35766.2 | 421668 | 23341.1
[7 empty] | Gauss | 352.889 | 23877.6 | 18.0507 | 0.013884 | 22.624 | 917.041 | 0.00025346 | 0.00071272
| 18.1016 |  |  | 178.057 |  | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | -763696 | 56751.6 | 181320 | 10005.2
[7 empty] | Gauss | 178.057 | 10329.8 | 18.1016 | 0.016193 | 13.8005 | 472.731 | 0.00034758 | 0.0010129
| 18.8862 | S III |  | 9510.63 | 86.3143 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 1788000 | -78482.4 | 2308040 | 122126
[7 empty] | Gauss | 9510.63 | 634208 | 18.8862 | 0.014088 | 239.691 | 10060 | 0.00010735 | 0.0002759
ch4_long | 23.1433 | Fe III | 51.198, 14.46 | 749.153 | 6.799 | excitation | Type | Flux | Height | Center | FWHM | d_Flux | d_Height | d_Center | d_FWHM
[7 empty] | a+bx | 2595210 | -97201.9 | 2556230 | 110385
[7 empty] | Gauss | 749.153 | 57036.8 | 23.1433 | 0.012339 | 229.443 | 10891.4 | 0.0011137 | 0.0029546

## Spectra Emission
| Nucleus | Ratio | Arm | Ratio |  |  | Ratio
Fe II | 89.0308 | 0.66248 | 41.7843 | 1.174 | 0.31092 | 74.6012 | 0.67705 | 0.55511
Mg V | 39.8712 | 0.29668 | 6.9358 | 0.19488 | 0.051609 | 26.8752 | 0.24391 | 0.19998
H2 S(5) | 76.558 | 0.56967 | 23.7155 | 0.66635 | 0.17647 | 79.2856 | 0.71956 | 0.58996
Ar II | 2479.04 | 18.4465 | 218.424 | 6.1372 | 1.6253 | 1901.21 | 17.2546 | 14.1469
Ar III | 222.156 | 1.6531 | 101.336 | 2.8473 | 0.75404 | 168.056 | 1.5252 | 1.2505
H2 S(2) | 142.929 | 1.0635 | 154.99 | 4.3549 | 1.1533 | 133.311 | 1.2099 | 0.99196
Ne II | 17515.2 | 130.3302 | 3398.57 | 95.4923 | 25.2887 | 17217.2 | 156.2558 | 128.1127
clorine | 168.57 | 1.2543 | 36.8762 | 1.0361 | 0.27439 | 180.694 | 1.6399 | 1.3445
Ne III | 1696.12 | 12.6208 | 562.203 | 15.7967 | 4.1833 | 1432.25 | 12.9985 | 10.6573
H2 S(1) | 228.802 | 1.7025 | 433.611 | 12.1835 | 3.2265 | 343.487 | 3.1173 | 2.5559
Fe II | 420.064 | 3.1257 | 76.7906 | 2.1576 | 0.5714 | 352.889 | 3.2027 | 2.6258
S III | 6597.17 | 49.0894 | 2228.35 | 62.6117 | 16.5811 | 9510.63 | 86.3143 | 70.7684
Fe III | 657.46 | 4.8921 | 245.491 | 6.8978 | 1.8267 | 749.153 | 6.799 | 5.5744
Fe II |  | 0 | 280.718 | 7.8876 | 2.0888 | 0 |  | 0